## Eligible Measures List
Version 2.0 - 2021 - 2024 CDM Framework Retrofit Program - Ottawa - Distributed Energy Resources Eligible Measures - February 28, 2024
All technologies must meet applicable Code, standard and regulatory requirements including, but not limited to, CSA/cUL. It is the Applicant's responsibility to ensure that the technology is suitable (properly designed and sized, etc.) to its intended application. All products must be legal for sale in Canada. Distributed Energy Resources (DER) for this worksheet refers to a solar photovoltaic inverter system used for self consumption purposes at all times. For further clarity, Distributed Energy Resources in the Retrofit Program are limited to the geographic area defined by the IESO based on the list of forward sortation areas on the Save on Energy associated program webpages. The DER must have authority to generate by the appropriate connection authority. Please note Retrofit application approval does not in any way imply project is approved to connect to the grid. The DER must have connection approval and a signed confirmation to generate from the appropriate connection authority. INSTRUCTIONS: For Solar PV description and project intent enter in name of solar installer, total maximum generation output of solar panels STC kW DC, DC/AC ratio, inverter manufacturer and model, and project intent as documented in connection impact assessment application form. Enter the project total maximum continuous output of the solar photovoltaic system expressed in kilowatt (kW AC). Enter the estimated project costs. The 'Estimated Participant Incentive Amount' will be displayed at the bottom of the worksheet. Enter into the table the load displacement generation facility's schedule of the forecasted maximum generation output (as a function of loading of the facility) as would be documented in Connection Impact Assessment application form, Appendix C, Load Displacement Figures. It is mandatory that the filled-in worksheet is uploaded in the Retrofit application portal at the Measure section and/or at the Facility section. Please note only one document can be uploaded at the Measure section but multiple documents can be uploaded at the Facility section. For Pre-project application submission a copy of the preliminary project quote listing eligible Project costs is to be uploaded. Post Project application review will require additional support documentation to be uploaded, such as an updated worksheet, a copy of the Connection Impact Assessment form, as-built Single Line Diagram, copies of paid Project cost invoices and signed letter confirming project has approval to generate (signed Hydro Ottawa Generation Commissioning Checklist). Disclaimer: This worksheet made available by the IESO to Participants and Applicant Representatives under the Retrofit Program is for informational purposes only and intended to serve as a tool to aid with the calculation of estimated Participant Incentive and savings values, which may differ from the actual values that are calculated within the Retrofit Portal. This worksheet and any values that are calculated using this worksheet, including any automatically-populated values, are not intended to be final or binding on the IESO and are subject to the terms and conditions of the applicable Program Requirements and form of Participant Agreement. In the event and to the extent of any conflict or inconsistency between the values calculated using this worksheet and those calculated within the Retrofit Portal, the values in the Retrofit Portal will prevail. The IESO makes no guarantees, representations or warranties, express or implied, with respect to the accuracy, reliability, sufficiency, or completeness of this worksheet, including any results that may be obtained as a result of the use of the information provided herein, and expressly disclaims any and all liability associated therewith (whether arising under contract, common-law or equitable principles) and any express or implied warranties related to the use of this worksheet or its suitability for any particular purpose. The IESO shall not be held liable for any claims, actions, causes of action, demands, judgments, losses or damages whatsoever (including any direct, indirect, consequential, ‘lost profit’ damages or other damages), and any legal costs or other expenses arising out of or resulting from any inaccuracies, errors or omissions, use, misuse or reliance on the worksheet, whether in whole or in part. For greater certainty, this worksheet does not constitute ‘advice’ that should be relied upon. Participants and Applicant Representatives are encouraged to obtain their own independent business, technical and legal advice prior to submitting an Application to the Retrofit Program.
SOLAR PHOTOVOLTAIC SYSTEM |  |  | Solar PV description and project intent | Annual kWh | Total Maximum Output Power of the Solar PV System kW-AC | Incentive Rate | Total Calculated Participant Incentive
The Solar Photovoltaic System must meet all of the following system technical requirements: 1) A Solar Photovoltaic (PV) system that is constructed behind-the-meter to generate solar energy for onsite facility consumption and/or supply peak power to the facility during peak demand hours (load displacement only). 2) System mount on new or existing building rooftop(s) or walls with installed alternating current capacity between ≥50 kW and ≤ 1 MW. Systems larger than 1 MW can be eligible, however the incentive amount will be capped at 1 MW. 3) The solar PV system must be designed and stamped by a qualified Ontario registered professional electrical engineer complying with all government rules and regulations, including but not limited to the provincial and local building codes, the Ontario electrical safety codes, and applicable ANSI, CSA, IEC and UL standards, including but not limited too IEEE 1547 and UL 1741. 4) The as-built single-line diagram of the system must be submitted in the post project stage. 5) All permission/permits required from the local municipality and the local distribution company (LDC) should be completed. 6) A generation commissioning checklist from the appropriate DER authority must be provided by the applicant for the post project application. 7) Any other supporting documents as requested by the IESO. | [5 empty] | $860/kW | 0
Load Displacement Figures as would be entered into Appendix C of the Connection Impact Assessment for load displacement intended projects
Scenario | Load of Facility (kW) | Load of Facility (kVAR, lead or lag) |  | Generation Output (kW) |  | Generation Output (kVAR, lead or lag)
Minimum Load
Maximum Load
|  | Total Calculated Participant Incentive (before project cost cap limit) |  |  |  |  | 0
PROJECT COST BREAKDOWN
Costs which are eligible to be included in determining applicable Participant Incentives must be costs of 3rd party suppliers directly related to the procurement and implementation of the Eligible Measures and are limited to the
1. Estimated costs of the equipment purchased and installed
2. Estimated costs of labour for the installation of the equipment by suppliers
3. Estimated costs for connection assessments, project scoping, engineering and design
TOTAL ELIGIBLE COSTS FOR THE PROJECT: | [6 empty] | 0
For certainty, costs which are not eligible to be included in Eligible Costs include:
(i) any costs that are not third party costs or that are internal costs of the Participant, including costs of the Participant’s labour, service, administration or overhead;
(ii) financing costs of the Participant;
(iii) related insurance costs of the Participant;
(iv) costs associated with post-installation maintenance or service contracts;
(v) costs of spare parts, spare equipment or other inventories;
(vi) purchase or lease of tools for installation of equipment;
(vii) HST; or
(viii) a portion of the costs of Eligible Measures that have been or will be received from financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario
1. Total Calculated Participant Incentive | [6 empty] | 0
2. Maximum Allowable Participant Incentive (50% of Total Eligible Costs for the Project) | [6 empty] | 0
3. Estimated Participant Incentive Amount (based on lesser of 50% of Total Eligible Costs for the Project or Total Calculated Participant Incentive) | [6 empty] | 0
Name and contact details of Applicant:
Company Name:
Project Street Address
Postal Code
Ottawa Large Solar PV DER Worksheet

## Accessibililty Disclaimer
This is a locked, fillable form and not all of the content in this document may be captured by a screen-reading device. If you require additional assistance to complete and submit this form, please contact retrofit@ieso.ca

## Version Control (hidden)
Version Number | 1
Month | January
Day | 8
Year | 2024
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Revision Type | Tab | Details
1 | 2024-12-08 | New Worksheet | Eligible Measures List | New Worksheet for the Local Initiatives Ottawa Region PV Measure Only