## Eligible Measures List
Prescriptive worksheets are no longer required to submit Retrofit incentive applications. This is an optional worksheet, made available to assist Retrofit applicants with calculating incentives
Version 1.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - January 1, 2025
INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. It is required that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Disclaimer: This worksheet made available by the IESO to Participants and Applicant Representatives under the Retrofit Program is for informational purposes only and intended to serve as a tool to aid with the calculation of estimated Participant Incentive and savings values, which may differ from the actual values that are calculated within the Retrofit Portal. This worksheet and any values that are calculated using this worksheet, including any automatically-populated values, are not intended to be final or binding on the IESO and are subject to the terms and conditions of the applicable Program Requirements and form of Participant Agreement. In the event and to the extent of any conflict or inconsistency between the values calculated using this worksheet and those calculated within the Retrofit Portal, the values in the Retrofit Portal will prevail. The IESO makes no guarantees, representations or warranties, express or implied, with respect to the accuracy, reliability, sufficiency, or completeness of this worksheet, including any results that may be obtained as a result of the use of the information provided herein, and expressly disclaims any and all liability associated therewith (whether arising under contract, common-law or equitable principles) and any express or implied warranties related to the use of this worksheet or its suitability for any particular purpose. The IESO shall not be held liable for any claims, actions, causes of action, demands, judgments, losses or damages whatsoever (including any direct, indirect, consequential, ‘lost profit’ damages or other damages), and any legal costs or other expenses arising out of or resulting from any inaccuracies, errors or omissions, use, misuse or reliance on the worksheet, whether in whole or in part. For greater certainty, this worksheet does not constitute ‘advice’ that should be relied upon. Participants and Applicant Representatives are encouraged to obtain their own independent business, technical and legal advice prior to submitting an Application to the Retrofit Program.
CREEP HEAT PADS |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
Single creep heat pad. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL | up to 100 Watt maximum |  |  |  | $300 per heat pad | 0 | $ | 76 | per pad
Double creep heat pad. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL | up to 200 Watt maximum |  |  |  | $300 per heat pad | 0 | $ | 118 | per double pad
HIGH TEMPARATURE CUTOUT THERMOSTAT |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
Temperature limiting thermostat. NEMA 4 or 4X. Must meet all applicable Code, standard, safety and regulatory requirements, including CSA/UL/CUL | Operating range 20 to 40 Celsius |  |  |  | $120 per thermostat | 0 | $ | 57 | per thermostat
CREEP HEAT CONTROLLER |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
Heat Controller. NEMA 4 or 4X. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL | Only agricultural products designed for the use in animal housing facilities are eligible. Minimum eligibility requires each controller to control a minimum average of at least five lamps |  |  |  | $ 400 per controller | 0 | $ | 200 | per controller
HIGH EFFICIENCY VENTILATION EXHAUST FANS |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
18" - 61" High Efficiency (HE) Fan. Only fans tested at either BESS Laboratory or AMCA-certified lab are eligible for the incentive. All fans must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/cUL. All 24" HE fans must as a minimum meet the ASABE EP566 standard. Fans must be on the RETROFIT Agricultural Ventilation Exhaust Fans list and be identified as High Efficiency or Ultra High Efficiency | ≥ 18" to < 24" Fan |  |  |  | $180 per fan | 0 | $ | 76 | per fan
| ≥ 24" to < 36" Fans |  |  |  | $280 per fan | 0 | $ | 1556 | per fan
| ≥ 36" to < 48" Fans |  |  |  | $280 per fan | 0 | $ | 187 | per fan
| ≥ 48" Fans |  |  |  | $500 per fan | 0 | $ | 150 | per fan
Version 1.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - January 1, 2025
RECIRCULATION VENTILATION FANS |  | Model # | Manufacturer | Quantity (in units) | Unit Participant Incentive | Total Participant Incentive
High Volume Low Speed (HVLS) vertical ceiling mount fans minimum 10' diameter - All applications. HVLS fans must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL HVLS fans are used for summer convective cooling of livestock and poultry personnel. | HVLS fan ≥10 to <11 ft (1.0 hp) |  |  |  | 2180 | 0 | $ | 750 | per fan
| HVLS fan ≥11 to <19 ft (1.5 hp) |  |  |  | 3380 | 0 | $ | 1500 | per fan
| HVLS fan ≥19 to ≤ 24 ft (2.0 hp) |  |  |  | 4820 | 0 | $ | 2000 | per fan
LOW ENERGY LIVESTOCK WATERERS |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Low-wattage waterer. Must be thermostat equipped and be completely insulated with min. 2" rigid insulation to be eligible for incentive. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | 300 W maximum, including waterline heat tracing elements. Insulation must be enclosed so as to be impervious to rodent, insect and livestock damage. Thermostat to be protected from mechanical and livestock damage. |  |  |  | $580 per Waterer | 0 | $ | 350 | per waterer
PHOTOCELL AND TIMER FOR LIGHTING CONTROL |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Timer + photocell. Timer to regulate on-off lighting schedule. Photocell to minimize daytime lighting operation. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | Incentive applicable only for barns in which ambient light level is increased enough by natural daylight entry to enable electric lighting to be switched off by photocell. |  |  |  | $360 per timer & photocell controller combination | 0 | $ | 175 | per timer & photocell controller combination
Version 1.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - January 1, 2025
DAIRY PLATE COOLER |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Dairy Plate Cooler. Plate heat exchanger used for pre-cooling milk prior to refrigeration. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | Incentive applicable for installing new plate cooler for dairy farms where no pre-cooling previously existed. |  |  |  | $1800 per plate cooler | 0 | $ | 700 | per plate cooler
Engine Block Heater Timer |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Engine Block Heater Timer. Programmable timer for electric engine block heater. Must meet all applicable Code, standard, safety and regulatory requirements including CSA/UL/CUL. | Plug-in programmable timer to control engine block heater. Minimum 15A rated for outdoor use. Program to operate heater for a maximum 3hrs per day. |  |  |  | $40 per timer | 0 | $ | 10 | per timer
Energy Star Electric Hot Water Heater for Dairy Farms |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Energy Star Electric Hot Water Heater. 60 gal. minimum tank size. For use with dairy farms (assumed minimum herd size of 15 cows). The product must be approved and listed on the current Energy Star Certified Water Heaters List. | Energy Star Electric Hot Water Tank ≥ 60 gal. |  |  |  | $500 per water tank | 0 | $ | 200 | per water tank
https://www.energystar.gov/productfinder/product/certified-water-heaters/
Milk Scroll Compressor |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Milk Scroll Compressor. New scroll compressor for milk cooling at dairy farms. (assumed minimum herd size of 15 cows). Must replace old inefficient reciprocating compressor for milk cooling. | New compressors must have a minimum EER of 12. |  |  |  | $1620 per compressor | 0 | $ | 750 | per compressor
Solar Hot Water Collector for Dairy Farms |  | Model # | Manufacturer | Quantity (per unit) | Unit Participant Incentive | Total Participant Incentive
Solar Hot Water Collector. Solar hot water collect for use at dairy farms. (assumed minimum herd size of 15 cows). To be used to supplement existing or new electric hot water tank heater (60 gal minimum). . | For augmentation or replacement of existing electric storage tank water heaters for dairy farms. |  |  |  | $2380 per Solar Hot Water Collector | 0 | $ | 320 | per m2 of total solar collector area
Eligible Measures receiving financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario must be deducted from the Eligible Incentive under the Retrofit Program. For example, Solar Hot Water Collector project receiving incentives under from the Ministry of Energy and Infrastructure's Ontario Solar Thermal Heating Incentive Program must be deducted from the Eligible Incentive amount as determined pursuant to this worksheet.
Version 1.0 - Retrofit Program - Agribusiness Eligible Measures Worksheet - January 1, 2025
DUAL AND NATURAL EXHAUST VENTILATION |  | Model # | Manufacturer | Quantity (in 1,000 livestock headcount) | Unit Participant Incentive | Total Participant Incentive
Dual and Natural Exhaust Ventilation System. For natural ventilation, no mechanical exhaust fans shall be installed. All ventilation is to be provided by chimneys and sidewall openings with curtains or sidewall insulated panels. For dual ventilation, exhaust fans are used to modulate exhaust air flow in cold months only. Chimneys and sidewall openings with curtains or sidewall insulated panels are used to provide ventilation in warm months. The total installed mechanical ventilation capacity shall not exceed the sum of Stage 1 (continuous) and Stage 2 (moisture control) minimum ventilation requirement. Installed dual and natural ventilation system must meet all applicable Code, standard, safety and regulatory requirements. | Egg layers |  |  |  | $640 per 1,000 birds | 0 | $ | 320 | per 1,000 birds
| Chicken broilers |  |  |  | $540 per 1,000 birds | 0 | $ | 272 | per 1,000 birds
| Turkeys |  |  |  | $1800 per 1,000 birds | 0 | $ | 904 | per 1,000 birds
|  | Model # | Manufacturer | Quantity (in livestock headcount) | Unit Participant Incentive | Total Participant Incentive
| Swine - breeding & gestation |  |  |  | $8 per sow | 0 | $ | 4 | per sow
| Swine - growing & finishing |  |  |  | $8 per market-weight hog | 0 | $ | 4 | per market-weight hog
| Dairy -tie stall, year round housing |  |  |  | $56 per cow | 0 | $ | 28 | per cow
| Dairy -tie stall, outside in summer |  |  |  | $56 per cow | 0 | $ | 28 | per cow
|  | Model # | Manufacturer | Quantity (in 1,000 square meters) | Unit Participant Incentive | Total Participant Incentive
| Greenhouse - flowers |  |  |  | $2,020 per 1,000 square meters | 0 | $ | 1008 | per 1,000 square meters
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and the incentive amounts do not include HST or other applicable taxes.
|  |  | TOTAL PARTICIPANT INCENTIVE REQUESTED: |  |  | 0
PROJECT COST BREAKDOWN
Costs which are eligible to be included in determining applicable Participant Incentives must be costs of 3rd party suppliers directly related to the procurement and implementation of the Eligible Measures and are limited to the following:
1. Estimated costs of the equipment purchased and installed
2. Estimated costs of labour for the installation of the equipment by suppliers
3. Estimated costs to dispose of or decommission the replaced equipment
TOTAL ELIGIBLE COSTS FOR THE PROJECT: | [5 empty] | 0
For certainty, costs which are not eligible to be included in Eligible Costs include:
(i) any costs that are not third party costs or that are internal costs of the Participant, including costs of the Participant’s labour, service, administration or overhead;
(ii) financing costs of the Participant;
(iii) related insurance costs of the Participant;
(iv) costs associated with post-installation maintenance or service contracts;
(v) costs of spare parts, spare equipment or other inventories;
(vi) purchase or lease of tools for installation of equipment;
(vii) HST; or
(viii) a portion of the costs of Eligible Measures that have been or will be received from financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario
1. Total Calculated Participant Incentive | [5 empty] | 0
2. Maximum Allowable Participant Incentive (50% of Total Eligible Costs for the Project) | [5 empty] | 0
3. Estimated Participant Incentive Amount (based on lesser of 50% of Total Eligible Costs for the Project or Total Calculated Participant Incentive) | [5 empty] | 0
Name of Applicant:
Name of Company:
Building Address:
WORKSHEET
Agribusiness Worksheet
Agribusiness Worksheet
Lighting System Worksheet
Agribusiness Worksheet
Agribusiness Worksheet
Lighting System Worksheet
Agribusiness Worksheet
Agribusiness Worksheet
Lighting System Worksheet
Agribusiness Worksheet

## Accessibility Disclaimer
This is a locked, fillable form and not all of the content in this document may be captured by a screen-reading device. If you require additional assistance to complete and submit this form, please contact retrofit@ieso.ca

## Version Control (hidden)
Version Number | 1
Month | January
Day | 1
Year | 2025
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version # | Date | Details
1 | 2025-01-01 | eDSM Framework Release