## CompAirPrescriptive
Prescriptive worksheets are no longer required to submit Retrofit incentive applications. This is an optional worksheet, made available to assist Retrofit applicants with calculating incentives
Version 1.0 - Retrofit Program - Compressed Air Eligible Measures Worksheet - January 1, 2025
It is the Applicant's responsibility to ensure that all technologies meet applicable Code, Safety Standard and Regulatory requirements for the Province of Ontario. All products must be legal for sale in Canada. Only reasonable quantities or product sizes matching the Applicant's facility are permitted. This worksheet applies to the retrofit of existing equipment as well as the purchase and installation of new equipment that is more efficient than what would have been installed if the Participant had not participated in the program, where none previously existed. INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Incentive Amount for Measure' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Incentive Amount for Measure' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. It is required that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Disclaimer: This worksheet made available by the IESO to Participants and Applicant Representatives under the Retrofit Program is for informational purposes only and intended to serve as a tool to aid with the calculation of estimated Participant Incentive and savings values, which may differ from the actual values that are calculated within the Retrofit Portal. This worksheet and any values that are calculated using this worksheet, including any automatically-populated values, are not intended to be final or binding on the IESO and are subject to the terms and conditions of the applicable Program Requirements and form of Participant Agreement. In the event and to the extent of any conflict or inconsistency between the values calculated using this worksheet and those calculated within the Retrofit Portal, the values in the Retrofit Portal will prevail. The IESO makes no guarantees, representations or warranties, express or implied, with respect to the accuracy, reliability, sufficiency, or completeness of this worksheet, including any results that may be obtained as a result of the use of the information provided herein, and expressly disclaims any and all liability associated therewith (whether arising under contract, common-law or equitable principles) and any express or implied warranties related to the use of this worksheet or its suitability for any particular purpose. The IESO shall not be held liable for any claims, actions, causes of action, demands, judgments, losses or damages whatsoever (including any direct, indirect, consequential, ‘lost profit’ damages or other damages), and any legal costs or other expenses arising out of or resulting from any inaccuracies, errors or omissions, use, misuse or reliance on the worksheet, whether in whole or in part. For greater certainty, this worksheet does not constitute ‘advice’ that should be relied upon. Participants and Applicant Representatives are encouraged to obtain their own independent business, technical and legal advice prior to submitting an Application to the Retrofit Program.
Measure 1: Install Zero Loss Air Drain(s)
The base case assumes that moisture drains under the control of timers will be replaced by Zero Loss Drains. Zero loss drain on air receiver tanks are an eligible measure. Internal float operated drain valves are not eligible.
Make and Model Numbers of Zero Loss Drain(s) |  | Incentive Rate per Drain | Quantity of Zero Loss Drains Installed | Incentive Amount for Measure
|  | 280 |  | 0
Measure 2: Install Engineered Nozzles to Replace Open Blowing Pipe or Locally Fabricated Nozzles
The base case assumes that open pipe or locally fabricated non-commercial nozzles are in use. The Applicant can mix and match reasonable quantities of engineered nozzles of 1/16", 1/8", 1/4" or 3/8" nominal sizes depending on compressed air system.
Make and Model Number(s) of Engineered Nozzle(s) | Engineered Nozzle Nominal Diameter Size | Incentive Rate per Engineered Nozzle | Quantity of Engineered Nozzle(s) Installed | Incentive Amount for Measure
| 1/16" Nozzle | 40 |  | 0
| 1/8" Nozzle | 70 |  | 0
| 1/4" Nozzle | 120 |  | 0
| 3/8" Nozzle | 170 |  | 0 | Note 1: Purple font not intended to be shown on final worksheet version but is for information, reporting and tracking
Note2: Incentive amounts were all based on the IESO's preapproved $0.10/kWh and by modus ponens have passed TRC, RIM, B-C tests.
Measure 3: Install additional Primary New Air Receiver Tank
The base case equipment is an oil-flooded load/no load compressor with a 1 USG/CFM storage ratio. The energy efficient equipment is an oil-flooded load/no load compressor with an improved storage of 3, 4 or 5 USG/CFM capacity and ratio compared to the base case equipment. The horsepower should reflect the rated capacity of all active air compressors. The new air receiver tank must be a primary receiver that is located near the compressor before the main distribution network. Secondary receivers (located close to points of large intermittent use or considerable distance away from the compressor) are ineligible. New Air Receiver Total Volume (USG) can be a single standard size air receiver or a combination of standard size air receivers to total up the volume as specified.
Make, and Model Number Primary New Air Receiver Tank | Rated Horsepower of All Active Air Compressors (HP) & New Air Receiver Total Volume (USG) | Incentive Rate per New Air Receiver Tank | Quantity | Incentive Amount for Measure
| 0 to <15 HP (0 to <240 USG) | 780 |  | 0
| ≥15 to <25 HP (≥240 to <400 USG) | 1560 |  | 0
| ≥25 to <35 HP (≥400 to <660 USG) | 2340 |  | 0
| ≥35 to <45 HP (≥660 to <1060 USG) | 3120 |  | 0
| ≥45 to <55 HP (≥800 to <1060 USG) | 3820 |  | 0
| ≥55 to <125 HP (≥1060 to <2220 USG) | 7640 |  | 0
| ≥125 to <175 HP (≥2200 to <3150 USG) | 11460 |  | 0
| ≥175 to <225 HP (≥3150 to <4050 USG) | 15280 |  | 0
Measure 4: Replace Non-Cycling Refrigerated Dryer with Cycling or Thermal Mass Refrigerated Dryer
The base case assumes a non-cycling refrigerated compressed air dryer. The energy efficient case assumes installing a new high efficiency cycling or thermal mass refrigerated dryer. The incentive is towards the purchase of a new cycling or thermal mass refrigerated dryer with a maximum of less than 750 CFM of capacity.
Make, and Model Number of Cycling or Thermal Mass Dryer | Capacity of New Cycling Refrigerated or Thermal Mass Dryer (CFM) | Incentive Rate per Dryer | Quantity | Incentive Amount for Measure
| 0 to <200 CFM | 160 |  | 0
| ≥200 to <400 CFM | 400 |  | 0
| ≥400 to <750 CFM | 820 |  | 0
Measure 5: Install Regenerative Dessicant Dryer Dewpoint Demand Controls
The base case assumes a regenerative dessicant dryer with a fixed, timer regeneration control that alternate towers on a fixed schedule, regardless of the actual moisture removal load at each regeneration interval. The energy efficiency case assumes installing a dewpoint controls to adjust the amount of air and energy that is required to regenerate the desiccant towers by monitoring removal load on the system and adjusting regeneration cycles to match the load. Incentive rate up to a maximum of less than 750 CFM of capacity.
Make, and Model Number of Dessicant Dryer Dewpoint Demand Controls | Capacity of Regenerative Dessicant Dryer (CFM) | Incentive Rate per Dewpoint Demand Controls | Quantity | Incentive Amount for Measure
| 0 to <200 CFM | 980 |  | 0
| ≥200 to <400 CFM | 2460 |  | 0
| ≥400 to <750 CFM | 5460 |  | 0
Measure 6: Install Compressed Air Low Pressure Drop Filter
The base case condition is a standard coalescing filter with a pressure drop of 3 psid when new and 5 psid or more at element change. The energy efficient case is a low pressure drop filter with pressure drop not exceeding 1 psid when new and 3 psid at element change. Incentive rate up to a maximum of less than 110 HP of capacity.
Make, and Model Number of Compressed Air Low Pressure Drop Filter | Rated Horsepower of All Active Air Compressors (HP) | Incentive Rate per Low Pressure Drop Filter | Quantity | Incentive Amount for Measure
| 0 to <30 HP | 300 |  | 0
| ≥30 to <50 HP | 580 |  | 0
| ≥50 to <70 HP | 880 |  | 0
| ≥70 to <90 HP | 1160 |  | 0
| ≥90 to <110 HP | 1460 |  | 0
| TOTAL PARTICIPANT INCENTIVE REQUESTED |  |  | 0
Project Cost Breakdown
Costs which are eligible to be included in determining applicable Participant Incentives must be costs of 3rd party suppliers directly related to the procurement and implementation of the Eligible Measures and are limited to the
1. Estimated costs of the equipment purchased and installed
2. Estimated costs of labour for the installation of the equipment by suppliers
3. Estimated costs to dispose of or decommission the replaced equipment
TOTAL ELIGIBLE COSTS FOR THE PROJECT: |  |  |  | 0
For certainty, costs which are not eligible to be included in Eligible Costs include:
(i) any costs that are not third party costs or that are internal costs of the Participant, including costs of the Participant’s labour, service, administration or overhead;
(ii) financing costs of the Participant;
(iii) related insurance costs of the Participant;
(iv) costs associated with post-installation maintenance or service contracts;
(v) costs of spare parts, spare equipment or other inventories;
(vi) purchase or lease of tools for installation of equipment;
(vii) HST; or
(viii) a portion of the costs of Eligible Measures that have been or will be received from financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario
1. Total Calculated Participant Incentive |  |  |  | 0
2. Maximum Allowable Participant Incentive (50% of Total Eligible Costs for the Project) |  |  |  | 0
3. Estimated Participant Incentive Amount (based on lesser of 50% of Total Eligible Costs for the Project or Total Calculated Participant Incentive) |  |  |  | 0
Name of Applicant:
Company Name:
Building Address:
Lighting System Worksheet

## Version Control (hidden)
Version | Date | Details
1 | 2025-01-01 | eDSM Framework Release

## IncentiveTweak (hidden)
Prescriptive Measure Implemented | Incentive based on $0.10/kWh | Incentive based on $800/kW | Measure Cost | Default Incentive used in Prescriptive Sheet (Can be Adjusted for Market Conditions by IESO) | Incentive based on… | Expected Annual kWh Savings | Expected Peak kW Savings | Quantity Implemented | Incentive | Warning Message (DO NOT EDIT THIS BLOCK)
1/8" Drain | #REF! | #REF! | 253 | #REF! | per drain
1/4" Drain | #REF! | #REF! | 253 | #REF! | per drain
3/8" Drain | #REF! | #REF! | 253 | #REF! | per drain | #REF! | #REF! | 0 | 0
1/16" Engineered Nozzle | #REF! | #REF! | 37.8375 | #REF! | per nozzle | #REF! | #REF! | 0 | 0
1/8" Engineered Nozzle | #REF! | #REF! | 69.75 | #REF! | per nozzle | #REF! | #REF! | 0 | 0
1/4" Engineered Nozzle | #REF! | #REF! | 121.519 | #REF! | per nozzle | #REF! | #REF! | 0 | 0
3/8" Engineered Nozzle | #REF! | #REF! | 170.8861 | #REF! | per nozzle | #REF! | #REF! | 0 | 0
3 USG/cfm | #REF! | #REF! |  | 0.9 | per additional USG tank capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 USG/cfm | #REF! | #REF! |  | 1.1 | per additional USG tank capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 USG/cfm | #REF! | #REF! |  | 0.65 | per additional USG tank capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cycling Dyer | #REF! | #REF! |  | 1.75 | per cfm of dryer capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Dewpoint Dependent | #REF! | #REF! |  | 2.85 | per cfm of dryer capacity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Totals | #REF! | #REF! |  | #REF!

## BackEnd (hidden)
#REF! | Average Compressor Size | [10 empty] | Notes
#REF! | Existing Primary Receiver Capacity (USG) | [10 empty] | Compressor Size (Note Average Ontario Composite Compressor Size is 122.886363636364 HP)
575 | Assumed Voltage
85% | Estimated Power Factor
#REF! | Maximum Compressor Power
4.5 | [11 empty] | Compressor Output factor (cfm per HP) rule of thumb @100 psig
#REF! | cfm | [10 empty] | Compressor Maximum Output (cfm)
16 | hours | [10 empty] | Hours per Day
5 | days | [10 empty] | Days per Week
49 | weeks | [10 empty] | Hour per Year (assumes 10 statutory holidays and 1 week shutdown)
3920 | hours | Revised from 2940 hours | [9 empty] | Nominal operating hours per year (Conservative hours used as small industrial customers more likely to apply for prescriptive incentives, and larger customers for custom program incentives)
#REF! | kW/100 cfm for Compressor at full load | [10 empty] | Compressor Index
10% | Adjustment for part load efficiency, pressure loss across filters, dyers and nominal power to operate dryer
#REF!
Percentage of Capacity | 0% | 10% | 20% | 30% | 40% | 50% | 60% | 70% | 80% | 90% | 100% | Reference: Scales, William, and David M. McCulloch. "Appendix 2.A.2." Best Practices for Compressed Air Systems. 2nd ed. Alexandria, VA: Compressed Air Challenge, 2013
Load/Unload (1 USG/cfm) | 27% | 32% | 63% | 74% | 81% | 87% | 92% | 95% | 98% | 100% | 100% | Percent of Full Load Power
Load/Unload (2 USG/cfm) | 27% | 33% | 61% | 72% | 79% | 85% | 90% | 94% | 97% | 100% | 100% | Percent of Full Load Power
Load/Unload (3 USG/cfm) | 27% | 34% | 54% | 64% | 73% | 79% | 85% | 90% | 94% | 98% | 100% | Percent of Full Load Power
Load/Unload (5 USG/cfm) | 27% | 34% | 45% | 55% | 64% | 71% | 78% | 85% | 91% | 97% | 100% | Percent of Full Load Power
Load/Unload (10 USG/cfm) | 27% | 34% | 42% | 52% | 60% | 68% | 76% | 83% | 89% | 96% | 100% | Percent of Full Load Power
Percentage of Capacity |  | 0-10% | 11-20% | 21-30% | 31-40% | 41-50% | 51-60% | 61-70% | 71-80% | 81-90% | 91-100% | Reference Compressed Air Challenge Scales and McCulloch (2013)
Load/Unload (1 USG/cfm) |  | 29.5% | 47.5% | 68.5% | 77.5% | 84% | 89.5% | 93.5% | 96.5% | 99% | 100% | Percent of Full Load Power Bin
Load/Unload (2 USG/cfm) |  | 30% | 47% | 66.5% | 75.5% | 82% | 87.5% | 92% | 95.5% | 98.5% | 100% | Percent of Full Load Power Bin
Load/Unload (3 USG/cfm) |  | 30.5% | 44% | 59% | 68.5% | 76% | 82% | 87.5% | 92% | 96% | 99% | Percent of Full Load Power Bin
Load/Unload (5 USG/cfm) |  | 30.5% | 39.5% | 50% | 59.5% | 67.5% | 74.5% | 81.5% | 88% | 94% | 98.5% | Percent of Full Load Power Bin
Load/Unload (10 USG/cfm) |  | 30.5% | 38% | 47% | 56% | 64% | 72% | 79.5% | 86% | 92.5% | 98% | Percent of Full Load Power Bin
Percent of Rated Power Bin |  | 0-10% | 11-20% | 21-30% | 31-40% | 41-50% | 51-60% | 61-70% | 71-80% | 81-90% | 91-100%
Percent of Time |  | 27.72% | 1.436% | 2.602% | 3.458% | 2.59% | 6.221% | 4.778% | 4.588% | 11.58% | 35.03% | Ontario Composite Profile for Fixed Speed Compressor
Percent of Full Load Power |  | 0% | 15% | 25% | 35% | 45% | 55% | 65% | 75% | 85% | 95%
|  | 95%: 56.33% | Weighted Average of Compressor Full Power
Percent of Rated Power Bin | 0-10% | 11-20% | 21-30% | 31-40% | 41-50% | 51-60% | 61-70% | 71-80% | 81-90% | 91-100% | Wght Avg
Load/Unload (1 USG/cfm) | 8.178% | 0.682% | 1.782% | 2.68% | 2.176% | 5.568% | 4.467% | 4.428% | 11.46% | 35.03% | 76.45% | Baseline of Full Load
Load/Unload (2 USG/cfm) | 8.316% | 0.6748% | 1.73% | 2.611% | 2.124% | 5.443% | 4.395% | 4.382% | 11.4% | 35.03% | 76.11% | New Power with 2 USG/cfm
Load/Unload (3 USG/cfm) | 8.455% | 0.6318% | 1.535% | 2.369% | 1.969% | 5.101% | 4.18% | 4.221% | 11.11% | 34.68% | 74.25% | New Power with 3 USG/cfm
Load/Unload (5 USG/cfm) | 8.455% | 0.5671% | 1.301% | 2.057% | 1.748% | 4.635% | 3.894% | 4.038% | 10.88% | 34.5% | 72.08% | New Power with 5 USG/cfm
Load/Unload (10 USG/cfm) | 8.455% | 0.5456% | 1.223% | 1.936% | 1.658% | 4.479% | 3.798% | 3.946% | 10.71% | 34.33% | 71.08% | New Power with 10 USG/cfm
Slope |  | 0% | 10% | 20% | 30% | 40% | 50% | 60% | 70% | 80% | 90% | 100%
0.055556 | Non-Cycling | 6.4444 | 6.5 | 6.5556 | 6.6111 | 6.6667 | 6.7222 | 6.7778 | 6.8333 | 6.8889 | 6.9444 | 7 | Typical 10&100% kW power profile for nominal 1000 cfm non cycling dryer
0.63333 | Thermal Mass | 1.1667 | 1.8 | 2.4333 | 3.0667 | 3.7 | 4.3333 | 4.9667 | 5.6 | 6.2333 | 6.8667 | 7.5 | Typical 10&100% kW power profile for nominal 1000 cfm cycling/thermal mass dryer
| 0-10% | 11-20% | 21-30% | 31-40% | 41-50% | 51-60% | 61-70% | 71-80% | 81-90% | 91-100% | Wght Avg
Non-Cycling | 6.4722 | 6.5278 | 6.5833 | 6.6389 | 6.6944 | 6.75 | 6.8056 | 6.8611 | 6.9167 | 6.9722 |  | Non Cycling Bins
Thermal Mass | 1.4833 | 2.1167 | 2.75 | 3.3833 | 4.0167 | 4.65 | 5.2833 | 5.9167 | 6.55 | 7.1833 |  | Cycling Dryer Bins
Non-Cycling Energy Consumption | 1.7942 | 0.093726 | 0.17129 | 0.22955 | 0.1734 | 0.41992 | 0.32514 | 0.31481 | 0.80074 | 2.4423 | 6.7651 | Weighted average kW for 1000 cfm non cycling dryer with Ontario Profile
Thermal Mass Energy Consumption | 0.4112 | 0.030391 | 0.071552 | 0.11699 | 0.10404 | 0.28927 | 0.25242 | 0.27148 | 0.75829 | 2.5163 | 4.8219 | Weighted average kW for 1000 cfm cycling dryer with Ontario Profile
[11 empty] | 7% | Percent of Dryer Rated Capacity required for Dryer Regeneration
[11 empty] | 21.76% | Based on reducing dryer switchover times using psychometric calculation for 104 weeks (2015&2016) at Ingersoll Ontario. Percent Cycle Savings Based on Reducing the drying cycles when absolute humidity is less than (0.00600 kg H2O per kg Air). Average humidity for period used was 0.006622 kg H2O per kg Air and maximum humidity was 0.014101 kg H2O per kg Air. Date: Environment Canada
Air Leakage through Orifice Table (Source: US DOE Compressed Air Challenge 2013)
Orifice Diameter (inches)
Pressure (psig) | 1/64 | 1/32 | 1/16 | 1/8 | 1/4 | 3/8
30 | 0.13 | 0.51 | 2.09 | 8.33 | 33.36 | 75.01
40 | 0.17 | 0.67 | 2.75 | 10.97 | 43.91 | 98.74
50 | 0.21 | 0.84 | 3.39 | 13.53 | 54.18 | 121.84
60 | 0.25 | 1 | 4.01 | 16.03 | 64.15 | 144.3
70 | 0.29 | 1.16 | 4.66 | 18.62 | 74.4 | 167.8
80 | 0.32 | 1.26 | 5.24 | 20.76 | 83.1 | 187.2
90 | 0.36 | 1.46 | 5.72 | 23.1 | 92 | 206.6
100 | 0.4 | 1.55 | 6.31 | 25.22 | 100.9 | 227
125 | 0.48 | 1.94 | 7.66 | 30.65 | 122.2 | 275.5
Values should be multiplied by 0.97 for well-rounded orifices and by 0.61 for sharp orifices.
For Drains
Pressure (psig) | 0-10%: 1/8; 11-20%: 1/4; 21-30%: 3/8
100 | 0-10%: 24.4634; 11-20%: 97.873; 21-30%: 220.19; 31-40%: Use 100 psig for Compressor, Dryer and Receiver Tank drains
|  |  | 6 | Typical number of Timed Drain Actuations per Hour
|  |  | 4 | CAWG revised to 4 seconds based on input from CAWG and ESource. LeapFrog typical observed seconds of compressed air release following water discharge (8.5 seconds blowing water +1.5 seconds blowing air on 10 second total cycle)
For Nozzles | 1/64 | 1/32 | 1/16 | 1/8 | 1/4 | 3/8
80 | 0.3104 | 1.2222 | 5.0828 | 20.1372 | 80.607 | 181.584 | Use 80 psig for regulated open blowing pipes (typically observed 20-50 psig)
30 | 0.1261 | 0.4947 | 2.0273 | 8.0801 | 32.3592 | 72.7597 | Use 30 psig for efficient nozzle or air assisted nozzles
[6 empty] | 5% | Percent of time that open blowing occurs
Zero Loss Drains | Orifice Discharge Rate (cfm) | Equivalent kW Demand | Operating Time (hours) | Equivalent kWh each hour | Equivalent kWh per Year | Assumed kWh for Zero Loss Drain | Annual Savings (kWh) | Approximately % Capacity of Compressor |  |  | Drain Incentive @$0.10/kWh | Drain @$800/kW
1/8" Drain | 24.4634 | #REF! | 0.0066667 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1/4" Drain | 97.873 | #REF! | 0.0066667 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3/8" Drain | 220.19 | #REF! | 0.0066667 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1/2" Drain | 391.395 | #REF! | 0.0066667 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Engineered Nozzles | Open Blowing Flow Rate (cfm) | Efficient Nozzle Flow Rate (cfm) | Air Savings with Nozzle (cfm) | Equivalent kW Demand Savings | Annual Savings (kWh) | Approximately % Capacity of Compressor |  |  | Incentive @$0.10/kWh | Nozzle @800/kW | Inc. Cost | 50% Inc. Cost | Incentive
1/16" Engineered Nozzle | 5.0828 | 2.0273 | 3.0555 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 37.8375 | 18.9187 | #REF!
1/8" Engineered Nozzle | 20.1372 | 8.0801 | 12.0571 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 69.75 | 34.875 | #REF!
1/4" Engineered Nozzle | 80.607 | 32.3592 | 48.2478 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 121.519 | 60.7595 | #REF!
3/8" Engineered Nozzle | 181.584 | 72.7597 | 108.8243 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 170.8861 | 85.443 | #REF!
|  | Compressor HP | Compressor Nameplate kW | Approximate Output cfm | Annual Operating Hours | Annual kWh at 100% Loading
|  | #REF! | #REF! | #REF! | 3920 | #REF!
| Weighted Average Hourly kW based on Ontario Profile | Annualized kWh | Annual Energy Savings with Additional Primary Receiver | Percent Energy Savings with Primary Receiver | Receiver Tank Multiplier USG/cfm | Actual Required Tank Size (USG) | Incentive @$0.10/kWh per Compressor HP | Allowable Tank Size (Rule of Thumb - Actual) + 20% allowance | Average Demand Savings / Intermediate Calculation | Peak kW Savings | Incentive @$0.10/kWh per USG | Incentive based on $800/kW
Baseline (1 USG/cfm) | 0-10%: #REF!; 11-20%: #REF!
3 USG/cfm | #REF! | #REF! | #REF! | #REF! | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 USG/cfm | #REF! | #REF! | #REF! | #REF! | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 USG/cfm | #REF! | #REF! | #REF! | #REF! | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cycling or Thermal Mass Dryer | 21-30%: allowance factor; 31-40%: allowable capacity
Approximate Dryer Capacity (cfm) plus 20% | 11-20%: #REF!; 21-30%: 20%; 31-40%: #REF!
| kW | kWh Consumption | Annual Energy Savings with Cycling Dryer | Percent Energy Savings with Cycling Dryer | Average Demand Savings | Peak kW Savings | Incentive @$0.10/kWh per cfm | Incentive based on $800/kW
Baseline (Non-Cycling Dryer) | 0-10%: #REF!; 11-20%: #REF!
Cycling Dyer | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Regenerative Dryer with Dewpoint Controlled Regeneration | 21-30%: allowance factor; 31-40%: allowable capacity
Approximate Regenerative Dryer Capacity Required (cfm) | 11-20%: #REF!; 21-30%: 20%; 31-40%: #REF!
| Average Required Regenerator Flow (cfm) | kW Consumption | Annual kWh Consumption | Annual Energy Savings with Cycling Dryer | Percent Energy Savings with Cycling Dryer | Average Demand Savings | Peak kW Savings | Incentive @$0.10/kWh per cfm | Incentive based on $800/kW
Baseline Air Flow (cfm) | 0-10%: #REF!; 11-20%: #REF!; 21-30%: #REF!
Dewpoint Dependent | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Humidity and Moisture Levels
Maximum Humidity | 11-20%: 0.014101
Average | 11-20%: 0.0066219
Dewpoint Control | 11-20%: 0.006
Base Dryer Cycles per hour | 11-20%: 4
Base Cycles | 11-20%: 420
New Cycles With Dewpoint Control | 11-20%: 328.5923
Cycle Savings | 11-20%: 91.4077
Percent Cycle Savings | 11-20%: 21.76%
Percentage of Capacity | Load/Unload (1 gal/CFM) | Load/Unload (2 gal/CFM) | Load/Unload (3 gal/CFM) | Load/Unload (5 gal/CFM) | Load/Unload (10 gal/CFM) | Load/Unload – Oil-Free | Inlet Valve Modulation (w/o Blowdown) | Inlet Valve Modulation (w/Blowdown) | Variable Displacement | VSD w/Unloading | VSD w/Stopping
0% | 27% | 27% | 27% | 27% | 27% | 27% | 71% | 26% | 25% | 12% | 0%
10% | 32% | 33% | 34% | 34% | 34% | 34% | 74% | 40% | 34% | 20% | 12%
20% | 63% | 61% | 54% | 45% | 42% | 42% | 76% | 54% | 44% | 28% | 24%
30% | 74% | 72% | 64% | 55% | 52% | 49% | 79% | 62% | 52% | 36% | 33%
40% | 81% | 79% | 73% | 64% | 60% | 56% | 82% | 82% | 61% | 45% | 41%
50% | 87% | 85% | 79% | 71% | 68% | 64% | 86% | 86% | 63% | 53% | 53%
60% | 92% | 90% | 85% | 78% | 76% | 71% | 88% | 88% | 69% | 60% | 60%
70% | 95% | 94% | 90% | 85% | 83% | 78% | 92% | 92% | 77% | 71% | 71%
80% | 98% | 97% | 94% | 91% | 89% | 85% | 94% | 94% | 85% | 80% | 80%
90% | 100% | 100% | 98% | 97% | 96% | 93% | 97% | 97% | 91% | 89% | 89%
100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Ontario Composite Profile | 21-30%: 1.1316; 31-40%: Peak Factor; 61-70%: Composite Compressors
Average | 11-20%: 5364.5048; 21-30%: 60.9603; 31-40%: 65.2083; 41-50%: 22.7917
Peak Average |  | 6070.71 | 68.9853 | 72.5333 | 15.4667 |  | 122.8864 | Average HP
Clock Hour | Week Hour | Sum 88 Compressors | Average 88 Compressors | Count On | Count Off | 88 Compressors in Ontario Composite (HP)
0 | 1 | 3216.9 | 36.5557 | 49 | 39 | 30
1 | 2 | 3183.4 | 36.175 | 48 | 40 | 30
2 | 3 | 3197.3 | 36.333 | 49 | 39 | 60
3 | 4 | 3276.4 | 37.2318 | 48 | 40 | 200
4 | 5 | 3244.7 | 36.8716 | 49 | 39 | 300
5 | 6 | 3454.1 | 39.2511 | 50 | 38 | 200
6 | 7 | 3232.8 | 36.7364 | 46 | 42 | 300
7 | 8 | 2968.1 | 33.7284 | 46 | 42 | 300
8 | 9 | 3129.4 | 35.5614 | 45 | 43 | 370
9 | 10 | 2990.6 | 33.9841 | 44 | 44 | 300
10 | 11 | 2904.4 | 33.0045 | 43 | 45 | 500
11 | 12 | 2987.6 | 33.95 | 45 | 43 | 350
12 | 13 | 3195.5 | 36.3125 | 48 | 40 | 20
13 | 14 | 3375.2 | 38.3545 | 51 | 37 | 20
14 | 15 | 3326.5 | 37.8011 | 51 | 37 | 30
15 | 16 | 3482.1 | 39.5693 | 50 | 38 | 30
16 | 17 | 3821.7 | 43.4284 | 53 | 35 | 30
17 | 18 | 3943.8 | 44.8159 | 53 | 35 | 30
18 | 19 | 3856.1 | 43.8193 | 53 | 35 | 30
19 | 20 | 3861.2 | 43.8773 | 56 | 32 | 50
20 | 21 | 4012 | 45.5909 | 57 | 31 | 50
21 | 22 | 4114.8 | 46.7591 | 59 | 29 | 60
22 | 23 | 4765.6 | 54.1545 | 63 | 25 | 60
23 | 24 | 5053.3 | 57.4239 | 63 | 25 | 75
0 | 25 | 4834.1 | 54.933 | 60 | 28 | 75
1 | 26 | 4734.6 | 53.8023 | 60 | 28 | 75
2 | 27 | 5523.8 | 62.7705 | 62 | 26 | 75
3 | 28 | 4870.7 | 55.3489 | 60 | 28 | 100
4 | 29 | 5098.2 | 57.9341 | 61 | 27 | 100
5 | 30 | 6390.5 | 72.6193 | 72 | 16 | 125
6 | 31 | 6471.7 | 73.542 | 75 | 13 | 125
7 | 32 | 6774.1 | 76.9784 | 80 | 8 | 125
8 | 33 | 6711.5 | 76.267 | 79 | 9 | 75
9 | 34 | 6609.2 | 75.1045 | 77 | 11 | 75
10 | 35 | 6799.2 | 77.2636 | 78 | 10 | 20
11 | 36 | 6743.4 | 76.6295 | 79 | 9 | 25
12 | 37 | 6886.6 | 78.2568 | 79 | 9 | 25
13 | 38 | 6820.4 | 77.5045 | 78 | 10 | 30
14 | 39 | 6812 | 77.4091 | 79 | 9 | 30
15 | 40 | 6764.4 | 76.8682 | 79 | 9 | 50
16 | 41 | 6692.2 | 76.0477 | 76 | 12 | 50
17 | 42 | 6640.5 | 75.4602 | 76 | 12 | 50
18 | 43 | 6609 | 75.1023 | 76 | 12 | 50
19 | 44 | 6463.3 | 73.4466 | 76 | 12 | 50
20 | 45 | 6502.3 | 73.8898 | 74 | 14 | 50
21 | 46 | 6474.4 | 73.5727 | 74 | 14 | 50
22 | 47 | 6429.7 | 73.0648 | 73 | 15 | 107
23 | 48 | 6370.5 | 72.392 | 73 | 15 | 100
0 | 49 | 6213.3 | 70.6057 | 68 | 20 | 150
1 | 50 | 6217 | 70.6477 | 69 | 19 | 50
2 | 51 | 6026.2 | 68.4795 | 67 | 21 | 20
3 | 52 | 6040.1 | 68.6375 | 64 | 24 | 50
4 | 53 | 6007 | 68.2614 | 64 | 24 | 50
5 | 54 | 6110.9 | 69.442 | 68 | 20 | 50
6 | 55 | 6390.1 | 72.6148 | 76 | 12 | 100
7 | 56 | 6651.3 | 75.583 | 77 | 11 | 125
8 | 57 | 6805.5 | 77.3352 | 76 | 12 | 125
9 | 58 | 6751.3 | 76.7193 | 77 | 11 | 150
10 | 59 | 6688.4 | 76.0045 | 74 | 14 | 150
11 | 60 | 6593.7 | 74.9284 | 75 | 13 | 50
12 | 61 | 6693.7 | 76.0648 | 74 | 14 | 75
13 | 62 | 6830.1 | 77.6148 | 78 | 10 | 75
14 | 63 | 5981.2 | 67.9682 | 75 | 13 | 75
15 | 64 | 5883.6 | 66.8591 | 75 | 13 | 67
16 | 65 | 5836.5 | 66.3239 | 74 | 14 | 75
17 | 66 | 5528.4 | 62.8227 | 71 | 17 | 215
18 | 67 | 5598.5 | 63.6193 | 70 | 18 | 300
19 | 68 | 5436.5 | 61.7784 | 69 | 19 | 350
20 | 69 | 5559.6 | 63.1773 | 69 | 19 | 350
21 | 70 | 5935.4 | 67.4477 | 70 | 18 | 350
22 | 71 | 6120.1 | 69.5466 | 73 | 15 | 350
23 | 72 | 5737.7 | 65.2011 | 69 | 19 | 50
0 | 73 | 5267.2 | 59.8545 | 64 | 24 | 50
1 | 74 | 5341.4 | 60.6977 | 63 | 25 | 50
2 | 75 | 5302.4 | 60.2545 | 64 | 24 | 50
3 | 76 | 5266.9 | 59.8511 | 62 | 26 | 75
4 | 77 | 5310.4 | 60.3455 | 63 | 25 | 75
5 | 78 | 5692 | 64.6818 | 69 | 19 | 75
6 | 79 | 5659.3 | 64.3102 | 72 | 16 | 75
7 | 80 | 6403.2 | 72.7636 | 75 | 13 | 100
8 | 81 | 5513 | 62.6477 | 71 | 17 | 200
9 | 82 | 6361 | 72.2841 | 75 | 13 | 300
10 | 83 | 6204 | 70.5 | 71 | 17 | 50
11 | 84 | 6363.1 | 72.308 | 71 | 17 | 200
12 | 85 | 6557 | 74.5114 | 74 | 14 | 200
13 | 86 | 6112.2 | 69.4568 | 71 | 17 | 250
14 | 87 | 6061.1 | 68.8761 | 71 | 17 | 300
15 | 88 | 6652.9 | 75.6011 | 75 | 13 | 300
16 | 0-10%: 89; 11-20%: 6508.9; 21-30%: 73.9648; 31-40%: 72; 41-50%: 16
17 | 0-10%: 90; 11-20%: 6514.7; 21-30%: 74.0307; 31-40%: 73; 41-50%: 15
18 | 0-10%: 91; 11-20%: 6532.3; 21-30%: 74.2307; 31-40%: 73; 41-50%: 15
19 | 0-10%: 92; 11-20%: 6371.2; 21-30%: 72.4; 31-40%: 73; 41-50%: 15
20 | 0-10%: 93; 11-20%: 6328.1; 21-30%: 71.9102; 31-40%: 71; 41-50%: 17
21 | 0-10%: 94; 11-20%: 6273.3; 21-30%: 71.2875; 31-40%: 72; 41-50%: 16
22 | 0-10%: 95; 11-20%: 6161.6; 21-30%: 70.0182; 31-40%: 70; 41-50%: 18
23 | 0-10%: 96; 11-20%: 5807; 21-30%: 65.9886; 31-40%: 68; 41-50%: 20
0 | 0-10%: 97; 11-20%: 5261.1; 21-30%: 59.7852; 31-40%: 62; 41-50%: 26
1 | 0-10%: 98; 11-20%: 5420; 21-30%: 61.5909; 31-40%: 63; 41-50%: 25
2 | 0-10%: 99; 11-20%: 5251.5; 21-30%: 59.6761; 31-40%: 62; 41-50%: 26
3 | 0-10%: 100; 11-20%: 5084.8; 21-30%: 57.7818; 31-40%: 58; 41-50%: 30
4 | 0-10%: 101; 11-20%: 5130.2; 21-30%: 58.2977; 31-40%: 59; 41-50%: 29
5 | 0-10%: 102; 11-20%: 5697.6; 21-30%: 64.7455; 31-40%: 67; 41-50%: 21
6 | 0-10%: 103; 11-20%: 6155.8; 21-30%: 69.9523; 31-40%: 71; 41-50%: 17
7 | 0-10%: 104; 11-20%: 6508.9; 21-30%: 73.9648; 31-40%: 73; 41-50%: 15
8 | 0-10%: 105; 11-20%: 6574.3; 21-30%: 74.708; 31-40%: 75; 41-50%: 13
9 | 0-10%: 106; 11-20%: 5875.1; 21-30%: 66.7625; 31-40%: 73; 41-50%: 15
10 | 0-10%: 107; 11-20%: 5980.5; 21-30%: 67.9602; 31-40%: 73; 41-50%: 15
11 | 0-10%: 108; 11-20%: 5814.7; 21-30%: 66.0761; 31-40%: 71; 41-50%: 17
12 | 0-10%: 109; 11-20%: 6420.4; 21-30%: 72.9591; 31-40%: 74; 41-50%: 14
13 | 0-10%: 110; 11-20%: 5860.8; 21-30%: 66.6; 31-40%: 71; 41-50%: 17
14 | 0-10%: 111; 11-20%: 6549.9; 21-30%: 74.4307; 31-40%: 73; 41-50%: 15
15 | 0-10%: 112; 11-20%: 5719.4; 21-30%: 64.9932; 31-40%: 71; 41-50%: 17
16 | 0-10%: 113; 11-20%: 5568; 21-30%: 63.2727; 31-40%: 70; 41-50%: 18
17 | 0-10%: 114; 11-20%: 5591; 21-30%: 63.5341; 31-40%: 69; 41-50%: 19
18 | 0-10%: 115; 11-20%: 6229.8; 21-30%: 70.7932; 31-40%: 71; 41-50%: 17
19 | 0-10%: 116; 11-20%: 5980.5; 21-30%: 67.9602; 31-40%: 69; 41-50%: 19
20 | 0-10%: 117; 11-20%: 5978.9; 21-30%: 67.942; 31-40%: 70; 41-50%: 18
21 | 0-10%: 118; 11-20%: 6113.2; 21-30%: 69.4682; 31-40%: 70; 41-50%: 18
22 | 0-10%: 119; 11-20%: 6000.4; 21-30%: 68.1864; 31-40%: 69; 41-50%: 19
23 | 0-10%: 120; 11-20%: 5728.3; 21-30%: 65.0943; 31-40%: 67; 41-50%: 21
0 | 0-10%: 121; 11-20%: 5215.6; 21-30%: 59.2682; 31-40%: 57; 41-50%: 31
1 | 0-10%: 122; 11-20%: 5242.8; 21-30%: 59.5773; 31-40%: 58; 41-50%: 30
2 | 0-10%: 123; 11-20%: 5241.6; 21-30%: 59.5636; 31-40%: 60; 41-50%: 28
3 | 0-10%: 124; 11-20%: 5184.1; 21-30%: 58.9102; 31-40%: 59; 41-50%: 29
4 | 0-10%: 125; 11-20%: 5156.8; 21-30%: 58.6; 31-40%: 59; 41-50%: 29
5 | 0-10%: 126; 11-20%: 5463.5; 21-30%: 62.0852; 31-40%: 65; 41-50%: 23
6 | 0-10%: 127; 11-20%: 5556.6; 21-30%: 63.1432; 31-40%: 71; 41-50%: 17
7 | 0-10%: 128; 11-20%: 5988; 21-30%: 68.0455; 31-40%: 70; 41-50%: 18
8 | 0-10%: 129; 11-20%: 5848.1; 21-30%: 66.4557; 31-40%: 71; 41-50%: 17
9 | 0-10%: 130; 11-20%: 5887; 21-30%: 66.8977; 31-40%: 69; 41-50%: 19
10 | 0-10%: 131; 11-20%: 5688; 21-30%: 64.6364; 31-40%: 72; 41-50%: 16
11 | 0-10%: 132; 11-20%: 5956.5; 21-30%: 67.6875; 31-40%: 73; 41-50%: 15
12 | 0-10%: 133; 11-20%: 5932.7; 21-30%: 67.417; 31-40%: 71; 41-50%: 17
13 | 0-10%: 134; 11-20%: 5980.1; 21-30%: 67.9557; 31-40%: 70; 41-50%: 18
14 | 0-10%: 135; 11-20%: 5974.8; 21-30%: 67.8955; 31-40%: 73; 41-50%: 15
15 | 0-10%: 136; 11-20%: 5608; 21-30%: 63.7273; 31-40%: 70; 41-50%: 18
16 | 0-10%: 137; 11-20%: 4987.8; 21-30%: 56.6795; 31-40%: 67; 41-50%: 21
17 | 0-10%: 138; 11-20%: 4917.2; 21-30%: 55.8773; 31-40%: 65; 41-50%: 23
18 | 0-10%: 139; 11-20%: 4755.6; 21-30%: 54.0409; 31-40%: 64; 41-50%: 24
19 | 0-10%: 140; 11-20%: 4750.5; 21-30%: 53.983; 31-40%: 65; 41-50%: 23
20 | 0-10%: 141; 11-20%: 4747.4; 21-30%: 53.9477; 31-40%: 62; 41-50%: 26
21 | 0-10%: 142; 11-20%: 4722; 21-30%: 53.6591; 31-40%: 61; 41-50%: 27
22 | 0-10%: 143; 11-20%: 4836.4; 21-30%: 54.9591; 31-40%: 63; 41-50%: 25
23 | 0-10%: 144; 11-20%: 4418.7; 21-30%: 50.2125; 31-40%: 59; 41-50%: 29
0 | 0-10%: 145; 11-20%: 4079.3; 21-30%: 46.3557; 31-40%: 55; 41-50%: 33
1 | 0-10%: 146; 11-20%: 3989.2; 21-30%: 45.3318; 31-40%: 54; 41-50%: 34
2 | 0-10%: 147; 11-20%: 4246.2; 21-30%: 48.2523; 31-40%: 55; 41-50%: 33
3 | 0-10%: 148; 11-20%: 4221.9; 21-30%: 47.9761; 31-40%: 56; 41-50%: 32
4 | 0-10%: 149; 11-20%: 4212.5; 21-30%: 47.8693; 31-40%: 55; 41-50%: 33
5 | 0-10%: 150; 11-20%: 4153.8; 21-30%: 47.2023; 31-40%: 56; 41-50%: 32
6 | 0-10%: 151; 11-20%: 4046.9; 21-30%: 45.9875; 31-40%: 56; 41-50%: 32
7 | 0-10%: 152; 11-20%: 4420.8; 21-30%: 50.2364; 31-40%: 58; 41-50%: 30
8 | 0-10%: 153; 11-20%: 4289.8; 21-30%: 48.7477; 31-40%: 56; 41-50%: 32
9 | 0-10%: 154; 11-20%: 4588.5; 21-30%: 52.142; 31-40%: 58; 41-50%: 30
10 | 0-10%: 155; 11-20%: 4606.9; 21-30%: 52.3511; 31-40%: 58; 41-50%: 30
11 | 0-10%: 156; 11-20%: 4540.2; 21-30%: 51.5932; 31-40%: 58; 41-50%: 30
12 | 0-10%: 157; 11-20%: 4430.4; 21-30%: 50.3455; 31-40%: 57; 41-50%: 31
13 | 0-10%: 158; 11-20%: 4249.1; 21-30%: 48.2852; 31-40%: 55; 41-50%: 33
14 | 0-10%: 159; 11-20%: 4290.6; 21-30%: 48.7568; 31-40%: 55; 41-50%: 33
15 | 0-10%: 160; 11-20%: 4123; 21-30%: 46.8523; 31-40%: 53; 41-50%: 35
16 | 0-10%: 161; 11-20%: 3938; 21-30%: 44.75; 31-40%: 50; 41-50%: 38
17 | 0-10%: 162; 11-20%: 3848.2; 21-30%: 43.7295; 31-40%: 54; 41-50%: 34
18 | 0-10%: 163; 11-20%: 4438.5; 21-30%: 50.4375; 31-40%: 58; 41-50%: 30
19 | 0-10%: 164; 11-20%: 5219.3; 21-30%: 59.3102; 31-40%: 59; 41-50%: 29
20 | 0-10%: 165; 11-20%: 5141.4; 21-30%: 58.425; 31-40%: 60; 41-50%: 28
21 | 0-10%: 166; 11-20%: 5214.1; 21-30%: 59.2511; 31-40%: 60; 41-50%: 28
22 | 0-10%: 167; 11-20%: 4957.8; 21-30%: 56.3386; 31-40%: 59; 41-50%: 29
23 | 0-10%: 168; 11-20%: 3615.4; 21-30%: 41.0841; 31-40%: 55; 41-50%: 33

## Accessibility Disclaimer
This is a locked, fillable form and not all of the content in this document may be captured by a screen-reading device. If you require additional assistance to complete and submit this form, please contact retrofit@ieso.ca