## Eligible Measures List
Prescriptive worksheets are no longer required to submit Retrofit incentive applications. This is an optional worksheet, made available to assist Retrofit applicants with calculating incentives
Version 1.0 - Retrofit Program - Multi-Residential In-Suite Appliance Eligible Measures Worksheet - January 1, 2025
INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. It is required that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Disclaimer: This worksheet made available by the IESO to Participants and Applicant Representatives under the Retrofit Program is for informational purposes only and intended to serve as a tool to aid with the calculation of estimated Participant Incentive and savings values, which may differ from the actual values that are calculated within the Retrofit Portal. This worksheet and any values that are calculated using this worksheet, including any automatically-populated values, are not intended to be final or binding on the IESO and are subject to the terms and conditions of the applicable Program Requirements and form of Participant Agreement. In the event and to the extent of any conflict or inconsistency between the values calculated using this worksheet and those calculated within the Retrofit Portal, the values in the Retrofit Portal will prevail. The IESO makes no guarantees, representations or warranties, express or implied, with respect to the accuracy, reliability, sufficiency, or completeness of this worksheet, including any results that may be obtained as a result of the use of the information provided herein, and expressly disclaims any and all liability associated therewith (whether arising under contract, common-law or equitable principles) and any express or implied warranties related to the use of this worksheet or its suitability for any particular purpose. The IESO shall not be held liable for any claims, actions, causes of action, demands, judgments, losses or damages whatsoever (including any direct, indirect, consequential, ‘lost profit’ damages or other damages), and any legal costs or other expenses arising out of or resulting from any inaccuracies, errors or omissions, use, misuse or reliance on the worksheet, whether in whole or in part. For greater certainty, this worksheet does not constitute ‘advice’ that should be relied upon. Participants and Applicant Representatives are encouraged to obtain their own independent business, technical and legal advice prior to submitting an Application to the Retrofit Program.
ENERGY STAR® REFRIGERATOR
Assumed Base case | Efficiency case | Notes | Model # | Manufacturer | Quantity | Unit Participant Incentive | Total Participant Incentive
Standard Refrigerator | ENERGY STAR® refrigerator | Eligible units shall be an ENERGY STAR® qualified refrigerator. Replaces an existing refrigerator unit equal to or greater than 15 years old. |  |  |  | $240.00 per refrigerator | 0
https://www.energystar.gov/productfinder/product/certified-residential-refrigerators/results
IN-SUITE TEMPERATURE CONTROLS
Assumed Base case | Efficiency case | Notes | Model # | Manufacturer | Quantity | Unit Participant Incentive | Total Participant Incentive
No in-suite temperature controls | In-suite temperature controls for electric space heating and cooling | Eligible measures include programmable thermostats and/or occupancy sensors linked to thermostats. A programmable thermostat must allow for programming both unoccupied/occupied setpoints and occupied/unoccupied time periods. Occupancy sensors must allow for the thermostat to switch between an occupied and unoccupied setpoints. |  |  |  | $300.00 per Thermostat and/or $300.00 per Occupancy Sensor | 0
ROOM AIR CONDITIONERS
Assumed Base case* | Efficiency case | Minimum Efficiency Level | Model # | Manufacturer | Quantity | Unit Participant Incentive | Total Participant Incentive
<8,000 Btu/h CEER ≥ 11.0 | Meet or exceed Consortium for Energy Efficiency (CEE) Efficiency Criteria CEE Tier 1 ENERGY STAR (CEER) or CEE Advanced Tier (CEER)** | <8,000 Btu/h CEER ≥ 12.1 |  |  |  | 10 | 0
8,000 to 13,999 Btu/h CEER ≥ 10.9 |  | 8,000 to 13,999 Btu/h CEER ≥ 12.0 |  |  |  | 15 | 0
14,000 to 19,999 Btu/h CEER ≥ 10.7 |  | 14,000 to 19,999 Btu/h CEER ≥ 11.8 |  |  |  | 20 | 0
20,000 to 27,999 Btu/h CEER ≥ 9.4 |  | 20,000 to 27,999 Btu/h CEER ≥ 10.3 |  |  |  | 22 | 0
≥28,000 Btu/h CEER ≥ 9.0 |  | ≥28,000 Btu/h CEER ≥ 9.9 |  |  |  | 25 | 0
* The assumed base case is based on O.Reg.509/18 Schedule 4 Section 14 Room Air Conditioner. Prescribed efficiency standard for through-the-wall and in-the-window systems, U.S. DOE 10 Code of Federal Regulations Part 430, Subpart C, §430.32 (b)
** https://library.cee1.org/system/files/library/13069/CEE_ResApp_RoomAirConditionerSpecification_2017.pdf. Combined Energy Efficiency Ratio (CEER) is the ratio of measured cooling output (in BTU per hour) to the sum of the measured average annual electrical energy input (in watts) and measured annual standby/off-mode power consumption (in watts). CEER is expressed in BTUs per watt-hour.
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and the incentive amounts do not include HST or other applicable taxes.
|  |  | TOTAL PARTICIPANT INCENTIVE REQUESTED: |  |  |  | 0
PROJECT COST BREAKDOWN
Costs which are eligible to be included in determining applicable Participant Incentives must be costs of 3rd party suppliers directly related to the procurement and implementation of the Eligible Measures and are limited to the following:
1. Estimated costs of the equipment purchased and installed
2. Estimated costs of labour for the installation of the equipment by suppliers
3. Estimated costs to dispose of or decommission the replaced equipment
TOTAL ELIGIBLE COSTS FOR THE PROJECT: | [6 empty] | 0
For certainty, costs which are not eligible to be included in Eligible Costs include:
(i) any costs that are not third party costs or that are internal costs of the Participant, including costs of the Participant’s labour, service, administration or overhead;
(ii) financing costs of the Participant;
(iii) related insurance costs of the Participant;
(iv) costs associated with post-installation maintenance or service contracts;
(v) costs of spare parts, spare equipment or other inventories;
(vi) purchase or lease of tools for installation of equipment;
(vii) HST; or
(viii) a portion of the costs of Eligible Measures that have been or will be received from financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario
1. Total Calculated Participant Incentive | [6 empty] | 0
2. Maximum Allowable Participant Incentive (50% of Total Eligible Costs for the Project) | [6 empty] | 0
3. Estimated Participant Incentive Amount (based on lesser of 50% of Total Eligible Costs for the Project or Total Calculated Participant Incentive) | [6 empty] | 0
Name of Applicant:
Name of Company:
Building Address:

## Accessibility Disclaimer
This is a locked, fillable form and not all of the content in this document may be captured by a screen-reading device. If you require additional assistance to complete and submit this form, please contact retrofit@ieso.ca

## Version Control (hidden)
Version Number | 1
Month | January
Day | 1
Year | 2025
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Details
1 | 2025-01-01 | eDSM Framework Release