## Eligible Measures List
Prescriptive worksheets are no longer required to submit Retrofit incentive applications. This is an optional worksheet, made available to assist Retrofit applicants with calculating incentives
Version 1.0 - Retrofit Program - Unitary Air Source Heat Pump Eligible Measures Worksheet - January 1, 2025
Only Unitary Air-Source Heat Pump (ASHP) of the size and meeting or exceeding the Consortium of Energy Efficiency (CEE) Unitary Heat Pump Specification Appendix B CEE Tier 1 or 2* or Northeast Energy Efficiency Partnerships (NEEP) efficiencies Cold Climiate Air-Source Heat Pump Specification Version 3.0** are eligible for Participant Incentives. Units must operate a minimum of 1,000 hours per year to be eligible. INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' row and the size of each unit in the 'Size in Tons' row. Based on the size of the equipment (tons), heating type (electric resistance/all other) and efficiency rating determine the incentive per unit and enter this amount in the 'Participant Incentive ($/Unit)' row. The 'Total Participant Incentive' row will automatically populate based on this information. The 'Required Information' must also be completed for each unit. The sum of the 'Total Incentive' amounts will be automatically populated in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. It is required that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Disclaimer: This worksheet made available by the IESO to Participants and Applicant Representatives under the Retrofit Program is for informational purposes only and intended to serve as a tool to aid with the calculation of estimated Participant Incentive and savings values, which may differ from the actual values that are calculated within the Retrofit Portal. This worksheet and any values that are calculated using this worksheet, including any automatically-populated values, are not intended to be final or binding on the IESO and are subject to the terms and conditions of the applicable Program Requirements and form of Participant Agreement. In the event and to the extent of any conflict or inconsistency between the values calculated using this worksheet and those calculated within the Retrofit Portal, the values in the Retrofit Portal will prevail. The IESO makes no guarantees, representations or warranties, express or implied, with respect to the accuracy, reliability, sufficiency, or completeness of this worksheet, including any results that may be obtained as a result of the use of the information provided herein, and expressly disclaims any and all liability associated therewith (whether arising under contract, common-law or equitable principles) and any express or implied warranties related to the use of this worksheet or its suitability for any particular purpose. The IESO shall not be held liable for any claims, actions, causes of action, demands, judgments, losses or damages whatsoever (including any direct, indirect, consequential, ‘lost profit’ damages or other damages), and any legal costs or other expenses arising out of or resulting from any inaccuracies, errors or omissions, use, misuse or reliance on the worksheet, whether in whole or in part. For greater certainty, this worksheet does not constitute ‘advice’ that should be relied upon. Participants and Applicant Representatives are encouraged to obtain their own independent business, technical and legal advice prior to submitting an Application to the Retrofit Program.
UNITARY AIR-SOURCE HEAT PUMP EQUIPMENT INCENTIVES
| Unitary ASHP Equipment Size |  | Heating Type | Assumed Base Case*** | Minimum Efficiency Rating |  | Participant Incentive ($)
| Tons | Btu/h (kW) |  |  | Cooling Mode | Heating Mode | Per Unit
| Split System ≥3.0 to <5.4 | ≥36,000 to <65,000 (≥11 to <19) | All | 14 SEER | 15 SEER 12.5 EER | 8.5 HSPF | 400
| Single Package ≥3.0 to <5.4 |  |  | 14 SEER | 15 SEER 12 EER | 8.2 HSPF | 400
| Split System or Single Package ≥5.4 to <11.25 | ≥65,000 to <135,000 (≥19 to <40) | Electric Resistance (or None) | 11.0 EER 12.2 IEER | 11.8 EER 13.6 IEER | 3.4 COP (47°F db/43°F wb OA) 2.4 COP (17°F db/15°F wb OA) | 3000
| Split System or Single Package ≥5.4 to <11.25 |  | All Other | 10.8 EER 12.0 IEER | 11.6 EER 13.4 IEER |  | 3000
| Split System or Single Package ≥11.25 to <20.0 | ≥135,000 to <240,000 (≥40 to <70) | Electric Resistance | 10.6 EER 11.6 IEER | 10.9 EER 12.8 IEER | 3.3 COP (47°F db/43°F wb OA) 2.1 COP (17°F db/15°F wb OA) | 5000
| Split System or Single Package ≥11.25 to <20.0 |  | All Other | 10.4 EER 11.4 IEER | 10.7 EER 12.6 IEER |  | 5000
| Split System or Single Package ≥20.0 to <63.3 | ≥240,000 to <760,000 (≥70) to <223) | Electric Resistance | 9.5 EER 10.6 IEER | 10.3 EER 11.8 IEER | 3.3 COP (47°F db/43°F wb OA) 2.1 COP (17°F db/15°F wb OA) | 18000
| Split System or Single Package ≥20.0 to <63.3 |  | All Other | 9.3 EER 10.4 IEER | 10.1 EER 11.6 IEER |  | 18000
SEER - Seasonal Energy Efficiency Ratio
EER - Energy Efficiency Ratio
HSPF-Heating Seasonal Performance Factor
IEER-Integrated Energy Efficiency Ratio
COP-Coefficient of Performance
db-Dry Bulb, wb-Web Bulb (47°F/17°F db is equivalent to 8.3°C/-8.3°C db)
* CEE Commercial Unitary Air-conditioning and Heat Pumps Specification Appendix B 2019
https://library.cee1.org/content/cee-commercial-unitary-ac-and-hp-specification-0
** NEEP Cold Climate Air-Source Heat Pump Specification V3.0
https://neep.org/sites/default/files/media-files/cold_climate_air-source_heat_pump_specification-version_3.0_final.pdf
*** The assumed based case is based on O.Reg.508/19 Schedule 4 Section 5.iv. (less than 65,000 Btu/h) and Section 8.iv. (at least 65,000 Btu/h)
https://www.ontario.ca/laws/regulation/180509#BK15
Required Information |  | Example | #1 | #2 | #3 | #4 | #5 | #6 | #7
Reason: “N”=New or “F”=Failed |  | F
Manufacturer |  | ABC
Model Number |  | EE-9876
Split System (SS) or Single Package (SP) |  | SP
Heating Type (Electric Resistance or Other) |  | Other
EER/SEER/IEER/HSPF/COP |  | 12
Annual Run Hours |  | 1500
Quantity (# of Unitary Air Source Heat Pump Units) |  | 2
Unit Size in Tons |  | 12
Participant Incentive ($/unit) |  | 5000
Total Participant Incentive |  | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and the incentive amounts do not include HST or other applicable taxes.
[6 empty] | TOTAL PARTICIPANT INCENTIVE REQUESTED: |  |  | 0
PROJECT COST BREAKDOWN
Costs which are eligible to be included in determining applicable Participant Incentives must be costs of 3rd party suppliers directly related to the procurement and implementation of the Eligible Measures and are limited to the following:
1. Estimated costs of the equipment purchased and installed
2. Estimated costs of labour for the installation of the equipment by suppliers
3. Estimated costs to dispose of or decommission the replaced equipment
TOTAL ELIGIBLE COSTS FOR THE PROJECT: |  |  | #7: 0
For certainty, costs which are not eligible to be included in Eligible Costs include:
(i) any costs that are not third party costs or that are internal costs of the Participant, including costs of the Participant’s labour, service, administration or overhead;
(ii) financing costs of the Participant;
(iii) related insurance costs of the Participant;
(iv) costs associated with post-installation maintenance or service contracts;
(v) costs of spare parts, spare equipment or other inventories;
(vi) purchase or lease of tools for installation of equipment;
(vii) HST; or
(viii) a portion of the costs of Eligible Measures that have been or will be received from financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario
1. Total Calculated Participant Incentive |  |  | #7: 0
2. Maximum Allowable Participant Incentive (50% of Total Eligible Costs for the Project) |  |  | #7: 0
3. Estimated Participant Incentive Amount (based on lesser of 50% of Total Eligible Costs for the Project or Total Calculated Participant Incentive) |  |  | #7: 0
Name of Applicant:
Name of Company:
Building Address:

## Accessibilty Disclaimer
This is a locked, fillable form and not all of the content in this document may be captured by a screen-reading device. If you require additional assistance to complete and submit this form, please contact retrofit@ieso.ca

## Version Control (hidden)
Version Number | 1
Month | January
Day | 1
Year | 2025
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Details
1 | 2025-01-01 | eDSM Framework Release