## Lighting Eligible Measures List
Prescriptive worksheets are no longer required to submit Retrofit incentive applications in the 2021-2024 Conservation and Demand Management Framework. This is an optional worksheet, made available to assist Retrofit applicants with calculating incentives
All technologies must meet applicable Code, standard and regulatory requirements including, but not limited to, CSA/cUL. It is the Applicant's responsibility to ensure that the technology is suitable (properly sized, etc.) to its intended application and to confirm that light levels of the energy efficient design meet the minimum regulatory requirements and the suggested levels for the proposed use of the space. All products must be legal for sale in Canada. All lighting measures must be used in interior applications unless noted otherwise. All wattages indicated on this worksheet are nominal wattages unless otherwise noted. THIS WORKSHEET IS NOT ELIGIBLE FOR NEW CONSTRUCTION, INCLUDING NEW BUILDING SYSTEMS AND EXTENSION OF EXISTING BUILDING, EXTENSIVE RENOVATION, AND CHANGE OF MAJOR OCCUPANCY, AS DEFINED IN THE ONTARIO BUILDING CODE. INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. It is recommended that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Disclaimer: This Prescriptive Worksheet made available by the IESO to Participants and Applicant Representatives under the Retrofit Program is intended to serve as a tool for use in calculating estimated Participant Incentive and savings values. This worksheet and any values that are calculated using this worksheet are not intended to be binding on the IESO and are subject to the terms and conditions of the applicable Program Requirements and form of Participant Agreement. IESO makes no representations or warranties with respect to the accuracy, reliability, sufficiency or completeness of this worksheet and specifically disclaims any implied warranties or suitability for any particular purpose. The IESO shall not be held liable for any claims, actions, causes of action, demands, judgments, losses or damage whatsoever, and any legal costs or other expenses arising out of or resulting from any inaccuracies, errors or omissions, use, misuse or reliance on the worksheet, whether in whole or in part.
LED MEASURES
REFRIGERATED DISPLAY CASE LED STRIP LIGHT |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
Refrigerated Display Case LED Fixture - Horizontal (under shelf) Installation1 | <13W Nominal length of 24"-48" |  |  |  | $20 / fixture | 0
Refrigerated Display Case LED Fixture - Vertical Installation2 | <30W Nominal length of 48"-72" |  |  |  | $25 / fixture | 0
1 The Fixture must be approved and listed on the Design Light Consortium (DLC) QPL and categorized as a Horizontal Refrigerated Case Luminaires. Luminaire must have an external driver.
2 The Fixture must be approved and listed on the Design Light Consortium (DLC) QPL and categorized as a Vertical Refrigerated Case Luminaires. Luminaire must have an external driver.
Retrofit kits and replacement lamps are not eligible for this incentive.
https://www.designlights.org/qpl
RECESSED LED DOWNLIGHT, WALL/CEILING MOUNT FIXTURES |  | Manufacturer Name/Model # | ENERGY STAR Unique ID # | Quantity | Participant Incentive | Total Participant Incentive
Products that are Solid State Luminaire (SSL) downlight retrofit kits and /or LED fixtures (w/ integrated LEDs) for recessed downlight, wall and ceiling mount applications are eligible for this incentive. The product must have a Fixture Type classification of "Downlight Recessed", "Down Light Solid State Retrofit", "Ceiling Mount and Pendant" or "Wall mount" by Energy Star and must be approved and listed on the Energy Star Qualified Commercial Lighting List for fixtures1. | LED Fixture with Light Output ≥400 and <600 lumens |  |  |  | $5 per downlight fixture | 0
| LED Fixture with Light Output ≥600 and <800 lumens |  |  |  | $10 per downlight fixture | 0
| LED Fixture with Light Output ≥800 lumens |  |  |  | $12 per downlight fixture | 0
1 Energy Star®-Light Fixtures | http://www.energystar.gov/productfinder/product/certified-light-fixtures/results
LED REFLECTOR (FLOOD/SPOT) LAMP PIN & SCREW BASE |  | Manufacturer Name/Model # | ENERGY STAR Unique ID # | Quantity | Participant Incentive | Total Participant Incentive
This measure is applicable to pin and/or screw base BR's, PAR's, MR's, and R's style LED lamps. The LED lamp must be classified as a Reflector (flood/spot) Lamp by Energy Star and must be approved and listed on the Energy Star Certified Light Bulbs List1 | ≥ 250 Lumens & ≤7W |  |  |  | $4 per lamp | 0
| ≥ 400 Lumens & ≤14W |  |  |  | $4 per lamp | 0
| ≥ 600 Lumens & ≤16W |  |  |  | $6 per lamp | 0
| ≥ 800 Lumens & ≤20W |  |  |  | $8 per lamp | 0
| ≥ 1100 Lumens & ≤30W |  |  |  | $10 per lamp | 0
1 Energy Star®-Bulbs | http://www.energystar.gov/productfinder/product/certified-light-bulbs/results
LED MEASURES
INTEGRAL LED TROFFER & LED LINEAR AMBIENT FIXTURE |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
The product must be categorized by the Design Lights Consortium List (DLC) as a "Indoor Luminaires - Troffer" or "Indoor Luminaires - Linear Ambient" and the product must be approved and listed on the DLC Qualified Products List1. | 2' x 2' LED troffer or 2' LED linear ambient fixture ≥ 2000 Lumens |  |  |  | $30 per LED troffer or Linear Ambient Fixture | 0
| 1' x 4' LED troffer or 4' LED linear ambient fixture ≥ 1500 Lumens |  |  |  | $30 per LED troffer or Linear Ambient Fixture | 0
| 2' x 4' LED troffer or 4' LED linear ambient fixture ≥ 3000 Lumens |  |  |  | $40 per LED troffer or Linear Ambient Fixture | 0
1 Design Lights Consortium | http://www.designlights.org/qpl
INTEGRAL LED TROFFER & LINEAR AMBIENT RETROFIT KITS |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
The product must be categorized by the Design Lights Consortium List (DLC) as a "Indoor Retrofit Kit - Troffer" or ""Indoor Retrofit Kit - Linear Ambient" and the product must be approved and listed on the DLC Qualified Products List1. Installation of the retrofit kit also requires the removal of the original fluorescent ballast and original lamp sockets. | 2' x 2' LED troffer or 2' LED linear ambient retrofit kit ≥ 2000 Lumens |  |  |  | $20 per troffer retrofit kit | 0
| 1' x 4' LED troffer or 4' LED linear ambient retrofit kit ≥ 1500 Lumens |  |  |  | $20 per troffer retrofit kit | 0
| 2' x 4' LED troffer or 4' LED linear ambient retrofit kit ≥ 3000 Lumens |  |  |  | $25 per troffer retrofit kit | 0
1 Design Lights Consortium | http://www.designlights.org/qpl
8' LED LINEAR AMBIENT FIXTURES |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
The product must be categorized by the Design Lights Consortium List (DLC) as an "Indoor Luminaires - Linear Ambient" and the product must be approved and listed on the DLC Qualified Products List1. | 8' LED Linear Ambient fixture ≥ 2000 < 9000 Lumens |  |  |  | $30 per fixture | 0
| 8' LED Linear Ambient fixture ≥9000 Lumens |  |  |  | $30 per fixture | 0
1 Design Lights Consortium | http://www.designlights.org/qpl
T8 LED TUBE / U-BEND REPLACEMENT LAMP |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
Only linear and U-bend LED T8 lamps designed to replace traditional fluorescent T8 lamps are eligible. Lamps must be approved and listed on the Design Lights Consortium (DLC) QPL1 and categorized as T8 Four-Foot Linear Replacement Lamps or U-Bend Replacement Lamps (UL Type A, B or C only). UL Type B tubes only accepted if certified and listed under UL 1598c standard, and known as "double ended". | 4' T8 LED / LED U-Bend Lamp ≥ 1500 Lumens & ≤15W |  |  |  | $3 per lamp | 0
| 4' T8 LED / LED U-Bend Lamp ≥ 2100 Lumens & ≤22W |  |  |  | $3 per lamp | 0
| 8' T8 LED Lamp ≥ 3200 Lumens & ≤43W |  |  |  | $6 per lamp | 0
1 Design Lights Consortium | http://www.designlights.org/qpl
T5 LED TUBE REPLACEMENT LAMP |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
Only 4' T5/T5HO LED Linear Replacement lamps designed to replace traditional fluorescent T5/T5HO lamps are eligible. Lamps must be approved and listed on the Design Lights Consortium (DLC) QPL1 and categorized as T5 Four-Foot / T5HO Four-Foot Linear Replacement Lamps (UL Type A, B or C). UL Type B tubes only accepted if certified and listed under UL 1598c standard, and known as "double ended". | LED T5 Tube ≥1600 Lumens & ≤28W |  |  |  | $3 per lamp | 0
| LED HO T5 Tube ≥3200 Lumens & ≤32W |  |  |  | $6 per lamp | 0
1 Design Lights Consortium | http://www.designlights.org/qpl
LED MEDIUM / HIGH BAY FIXTURE |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
The Fixture must be listed and approved by the Design Light Consortium (DLC) and categorized as a High-bay Luminaires. Retrofit kits are not eligible. | ≥ 8,900 Lumens & ≤139W |  |  |  | $50 per fixture | 0
| ≥ 15,000 Lumens & ≤175W |  |  |  | $90 per fixture | 0
1 Design Lights Consortium | http://www.designlights.org/qpl
LED LOW BAY FIXTURE |  | Manufacturer Name/Model # | DLC Product ID # | Quantity | Participant Incentive | Total Participant Incentive
The Fixture must be listed and approved by the Design Light Consortium (DLC) and categorized as a Low-bay Luminaires. Retrofit kits are not eligible. | ≤ 10,000 Lumens & ≤100W |  |  |  | $14 per fixture | 0
1 Design Lights Consortium | http://www.designlights.org/qpl
LIGHTING CONTROLS MEASURES
WALL SWITCH OCCUPANCY SENSORS |  | Manufacturer Name/Model # |  | Quantity | Participant Incentive | Total Participant Incentive
This measure is for the installation of a wall switch occupancy sensor in place of an "ON/OFF" switch. Dimming sensors are eligible. Wall switch occupancy sensor must be commercial grade. | Wall Switch Occupancy Sensor. |  |  |  | $ 15 per unit | 0
WALL/CEILING MOUNTED OCCUPANCY SENSOR |  | Manufacturer Name/Model # |  | Quantity | Participant Incentive | Total Participant Incentive
This measure is for the installation of a wall / ceiling mounted occupancy sensor. Dimming sensors are eligible. Occupancy sensor must be commercial grade. | Wall / Ceiling Mounted Occupancy Sensor. |  |  |  | $ 30 per unit | 0
FIXTURE MOUNTED/INTEGRATED OCCUPANCY SENSOR |  | Manufacturer Name/Model # |  | Quantity | Participant Incentive | Total Participant Incentive
This measure is for the installation of a fixture mounted/integrated occupancy sensor. Dimming sensors are eligible. Occupancy sensor must be commercial grade. | Fixture Mounted Occupancy Sensor (High Bay) For fixtures ≥ 100 W |  |  |  | $ 15 per unit | 0
| Fixture Mounted Occupancy Sensor (All Other) For fixtures < 100 W |  |  |  | $ 8 per unit | 0
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and incentive amounts do not include HST or other applicable taxes.
|  | TOTAL PARTICIPANT INCENTIVE REQUESTED: |  |  |  | 0
PROJECT COST BREAKDOWN
Costs which are eligible to be included in determining applicable Participant Incentives must be costs of 3rd party suppliers directly related to the procurement and implementation of the Eligible Measures and are limited to the
1. Estimated costs of the equipment purchased and installed
2. Estimated costs of labour for the installation of the equipment by suppliers
3. Estimated costs to dispose of or decommission the replaced equipment
TOTAL ELIGIBLE COSTS FOR THE PROJECT: | [5 empty] | 0
For certainty, costs which are not eligible to be included in Eligible Costs include:
(i) any costs that are not third party costs or that are internal costs of the Participant, including costs of the Participant’s labour, service, administration or overhead;
(ii) financing costs of the Participant;
(iii) related insurance costs of the Participant;
(iv) costs associated with post-installation maintenance or service contracts;
(v) costs of spare parts, spare equipment or other inventories;
(vi) purchase or lease of tools for installation of equipment;
(vii) HST; or
(viii) a portion of the costs of Eligible Measures that have been or will be received from financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario
1. Total Calculated Participant Incentive | [5 empty] | 0
2. Maximum Allowable Participant Incentive (50% of Total Eligible Costs for the Project) | [5 empty] | 0
3. Estimated Participant Incentive Amount (based on lesser of 50% of Total Eligible Costs for the Project or Total Calculated Participant Incentive) | [5 empty] | 0
Name of Applicant:
Company Name:
Building Address:
Lighting System Worksheet

## Accessibility Disclaimer
This is a locked, fillable form and not all of the content in this document may be captured by a screen-reading device. If you require additional assistance to complete and submit this form, please contact retrofit@ieso.ca

## Version Control (hidden)
Version Number | 2
Month | April
Day | 8
Year | 2021
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Revision Type | Tab | Details
5 | 2013-12-19 | Formatting | Lighting Eligible Measures List | Blank columns and rows (far right and bottom) were hidden
5 | 2013-12-19 | Formatting | Version Control | Version control updated. Version: 5.0 Date: January 31, 2014
5 | 2013-12-31 | Clarification | Lighting Eligible Measures List | Column C converted to Assumed Base Case
5 | 2013-12-31 | Clarification | Lighting Eligible Measures List | Column D converted to Manufacturer Name/Model #
5 | 2014-01-01 | Revsion No. | Lighting Eligible Measures List | Footer Revision No. was changed from V4.0 to V5.0
5 | 2014-04-08 | New Measures | Lighting Eligible Measures List | Inserted New Measures
5 | 2014-04-16 | New Measures Incentive | Lighting Eligible Measures List | Updated Incentive Amount
5 | 2014-09-30 | Freeze Measure | Lighting Eligible Measures List | Freeze LED Exterior Measures and changed date to Oct.1/14
6.2 | 2018-03-01 | Updates | Lighting Eligible Measures List | LED lamp incentive reduction, Retrofit Troffer and Integral Troffer categories and Occupancy Sensor changes
8.1 | 2020-07-27 | Clarification | Lighting Eligible Measures List | Added clarification language regarding one to one replacements for prescriptive lighting, base case requirements for LED highbay, and dimming sensors eligibility under occupancy sensors.
2 | 2021-04-08 | Updates | Lighting Eligible Measures List | Reduced incentive and removed PoP and baseline language.